DECONSTRUCTION SANITARY AND HAZARDOUS MATERIALS

WASTE MANAGEMENT PLAN

Milwaukee Energy Efficiency Program

Company Name:

Contact Person:

Telephone #:

Address:

Reference: 	Department of Natural Resources Waste and Materials Management

Milwaukee Department of Public Works, Sanitation Services

Project Description: Residential construction and/or Deconstruction

- Waste Management Goals:

  - The Contractor has established that construction or deconstruction projects shall generate at least 10% less waste into landfills and that processes shall be employed to ensure that this goal is met. Deconstruction materials will be recycled and reused as required by city ordinances.

  - Hazardous materials will be identified for each project and disposed of according to state regulations. Improper handling, storage, contamination, and inadequate protection will be addressed and corrected when identified.

- Responsibility:

  - The Contractor shall be responsible for the implementation of the administrative portions of this program, including the entering of project specific data into the Wastecap Resources system, notification of subcontractor management, the training of the site supervisor and the onsite posting of this plan.

  - The site supervisor will be responsible for the implementation of the onsite portions of this program including the training of subcontractor personnel.

- Waste Prevention Planning:

  - In addition to other requirements specified within this document is the requirement that the contractor comply with the applicable federal, state and local waste disposal requirements.

  - Of the inevitable waste that is generated, the waste materials designated in this specification shall be salvaged for reuse and or recycling where practical and possible. Waste disposal in landfills or incinerators shall be minimized where practical and possible. On new construction projects this means careful recycling of job site waste. On demolition projects this also means careful removal for salvage.

  - The Waste Management Plan shall be implemented and executed as follows and as on the chart:

    - Salvageable materials will be diverted from disposal where feasible.

    - Hazardous materials will be properly handled and transported to appropriate sites deemed by respective city ordinances.

    - Asbestos-containing materials will be repaired, enclosed, encapsulated, or removed of asbestos−containing material by a certified asbestos abatement vendor.

- Communication & Education Plan:

  - This Waste Management Plan will be communicated to all employees.

  - All recycling containers/areas will be clearly marked.

  - Identification of acceptable/unacceptable materials will be communicated to employees and subcontractors at the onset of each project.

- Expected Project Waste, Disposal, and Handling:

The following chart identifies waste materials expected on this project and their expected disposal methods. New items may be added as needed.

| Material | Primary Disposal Method |
| --- | --- |
| Asbestos Containing Material |  |
| Asphalt Shingles |  |
| Cardboard |  |
| Carpet/Flooring |  |
| Concrete |  |
| Electronics |  |
| Glass |  |
| Gypsum drywall |  |
| Insulation |  |
| Lead Paint Chips |  |
| Mercury-Containing - Fluorescent Lights/Bulbs |  |
| Mercury Containing - Thermostat |  |
| Metals |  |
| Paint |  |
| Painted or treated wood |  |
| Plaster |  |
| Plastics |  |
| Plywood, OSB, particle board |  |
| Refrigerant/Freon |  |
| Siding |  |
| Solvents |  |